## 02_18_2025_Standard_Nam
General guidelines:
fill in blue cells
other cells are calculated
Bench Scale Dewatering test Summary - 02/07/2025
Plant Data Conversion |  |  |  |  | Summary Table
Shampling time | 9:30 | [8 empty] | Data QAQC Name | Data QAQC (yes/No) | Comment | Notes: first round, we'll do the QA/AC with first 25 tabs
Belt No. | A2 | Poly Loading (lb) | 415.5562 |  | Shampling time | 9:30 |  |  |  | Parnia | 0 |  | from the tab 2_21_2025 to 8_20_2024
Poly Ratio | 0.158 | Floc Poly Flow (gpm) | 13.8408 |  |  | unit | Plant | OPD | EPD | Hung Chieu | 1
Sludge Flow (gpm) | 87.6 | Poly Floc Flow (mgd) | 0.019931 |  | BFP TS | %TS | 3.3801 |  |  | Tu Duong | 1 | [9 empty] | Test Details | [12 empty] | Target table
Polymer sol. | 0.25 | Sludge Flow(mgd) | 0.12614 |  | Polymer ratio setting | - | 0.158 |  |  | Nam Ngo | 1
SBT3 TS % LAB_TSPCT_J04 | 5.2 | Calculated BFP TS (%) | 3.2791 |  | Polymer dose | lb/tonTS | 23.3723 | 21.4636 | 16.5585 | Haydee | 1 | [23 empty] | BFP TS | Filtrate TS
BFP TS % | 3.3801 | BFP Sludge Loading (dtpd) | 17.2485 |  | Cake TS | %TS | 30.5721 | 31.3953 | 31.7232 | [11 empty] | Sampling time |  | 9:30 | [10 empty] | Unit | % | mg TSS/L
DIG SLDG FLOW FROM SBT (gpm) | 268 | Plant Polydose (Ib/ton) - method 1 | 24.0923 |  | Filtrate TSS | mg TSS/L | 370 | 555 | 715 | [11 empty] | Analyzer |  | Hung and Tu | [11 empty] | 3 - 3.9 | < 812
DIL WTR FLOW TO BFP (gpm) | 157 | Plant Polydose (Ib/ton) - method 2 | 23.3723
Summary Table
Assumptions and Constants:
[31 empty] | Details |  |  |  | batch testing
1 g = | 0.0022046 | lb | [30 empty] | unit | Plant | OPD | EPD
1 g = | 1.1023e-06 | ton
Cup Diameter | 3.95 | inches | [28 empty] | BFP TS |  | %TS | 3.3801
Cup Area: | 0.0079059 | m2 | [28 empty] | Polymer ratio setting |  | vol/vol | 0.158
Aiming for 0.80 kg of DS per m2 of cup area | [30 empty] | Polymer dose |  | lb/tonTS | 23.3723 | 21.4636 | 16.5585
Cup Loading | 6.3247 | grams of DS | [28 empty] | Cake TS |  | %TS | 30.5721 | 31.3953 | 31.7232
Assuming | 3.5 | TS in sludge | [28 empty] | Filtrate TSS |  | mg TSS/L | 370 | 555 | 715
Assuming 100% Capture in free drainage
Polymer Solution | 0.25
Plains Target DS | 4 to 7 | kg DS/m | [28 empty] | Remarks:
Calculation
Sample # | Polymer Dose (lb polymer/ ton sludge) | Actual Belt Filter Press before PD TS (%) | Sludge Weight (g) | Calculation Polymer Added(g) | Polymer Before (g) | Poymer after (g) | Actual Polymer Added (g) | Actual Polymer Added (lb/ton) | Sieve Weight (g) | Bucket Weight (g) | Sieve + Wet Solids Weight (g) | Bucket + Filtrate (g) | Capture Efficiency (%) | Filtered Solids (g) | Filtrate (g) | Estimated TS% of Wet Solids on frabic | Target WS in Cup (g)
1 | 16 | 3.3801 | 500.1 | 54.0919 | 56.84 | 0.86 | 55.98 | 16.5585 | 447.27 | 339.01 | 593.28 | 776.2 | 100 | 146.01 | 437.19 | 12.1417 | 52.0909
2 | 18 | 3.3801 | 500.39 | 60.8886 | 64.19 | 0.83 | 63.36 | 18.7306 | 205.81 | 407.83 | 356.89 | 787.46 | 100 | 151.08 | 379.63 | 10.539 | 60.0128
3 | 20.5 | 3.3801 | 500.77 | 69.3981 | 73.66 | 1 | 72.66 | 21.4636 | 204.53 | 403.97 | 359.85 | 786.46 | 100 | 155.32 | 382.49 | 10.2208 | 61.8809
4 | 22.5 | 3.3801 | 500.8 | 76.1732 | 80.23 | 0.89 | 79.34 | 23.4354 | 454.57 | 397.21 | 595.24 | 800.92 | 100 | 140.67 | 403.71 | 11.2917 | 56.0124
5 | 25 | 3.3801 | 500.94 | 84.6605 | 89.46 | 0.82 | 88.64 | 26.1751 | 449.02 | 397.68 | 605.79 | 797.34 | 100 | 156.77 | 399.66 | 10.1933 | 62.0477
6
7
Sample # | CST Sludge (Avrg) | CST Supernatant (Avrg) | CST Sludge |  |  |  |  | CST Supernatant
1 | 128.6 | 55.4 | 128.6 |  |  |  |  | 55.4
2 | 50.2 | 38.7 | 50.2 |  |  |  |  | 38.7
3 | 40.2 | 25.9 | 40.2 |  |  |  |  | 25.9
4 | 42.3 | 27.5 | 42.3 | 52.9 |  |  |  | 27.5
5 | 40.6 | 34.6 | 40.6 |  |  |  |  | 34.6
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 | 1.1248 | 1.1104 | 10 | 10 | 1.1317 | 1.1178 | 1 | 0.69 | 0.74 | 0.715 |  |  | 113170 | 111780 | 111780
2 | 1.0997 | 1.1114 | 10 | 10 | 1.1054 | 1.1168 | 1 | 0.57 | 0.54 | 0.555 |  |  | 110540 | 111680 | 111110
3 | 1.1148 | 1.1157 | 10 | 10 | 1.1202 | 1.121 | 1 | 0.54 | 0.53 | 0.535 |  |  | 112020 | 112100 | 112060
4 | 1.1249 | 1.1103 | 10 | 10 | 1.1292 | 1.1145 | 1 | 0.43 | 0.42 | 0.425 |  |  | 112920 | 111450 | 111450
5 | 1.1158 | 1.1179 | 10 | 10 | 1.1192 | 1.1212 | 1 | 0.34 | 0.33 | 0.335 |  |  | 111920 | 112120 | 112120
6 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0
Plant Filterate | 1.1153 | 1.109 | 10 | 10 | 1.1192 | 1.1125 | 1 | 0.39 | 0.35 | 0.37 |  |  | 111920 | 111250 | 111250
.
TS - VS
Sample ID/# | Foil Tray (g) #1 | Foil Tray (g) #2 | Tray +Sample (g) #1 | Tray + Sample (g) #2 | After 103 °C #1 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 | After 550 °C #2 | VS-1 (%) | VS-2 (%) | VS (%)
1 | 0.9836 | 1.0088 | 6.3319 | 5.0082 | 2.6894 | 2.2707 | 31.8942 | 31.5522 | 31.7232 |  |  | 42.4738 | 45.3396 | 43.9067
2 | 0.9811 | 0.9928 | 6.3937 | 5.766 | 2.7258 | 2.3895 | 32.234 | 29.2613 | 30.7477 |  |  | 42.6326 | 41.4412 | 42.0369
3 | 0.9889 | 0.9781 | 6.2951 | 5.343 | 2.6527 | 2.3502 | 31.3558 | 31.4349 | 31.3953 |  |  | 41.8843 | 40.7596 | 41.322
4 | 0.9961 | 0.9972 | 6.3334 | 6.5387 | 2.6798 | 2.7416 | 31.5459 | 31.4788 | 31.5124 |  |  | #DIV/0! | 51.312 | #DIV/0!
5 | 0.9992 | 0.977 | 5.0516 | 5.227 | 2.3044 | 2.4001 | 32.2081 | 33.4847 | 32.8464 |  |  | 45.6172 | 45.9174 | 45.7673
6 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Plant Cake | 1.0016 | 0.9957 | 6.6065 | 5.4766 | 2.7199 | 2.3618 | 30.6571 | 30.4872 | 30.5721 |  |  | 41.1701 | 43.1253 | 42.1477
Sludge | 1.0042 | 0.9933 | 9.9281 | 9.9211 | 1.3044 | 1.2965 | 3.364 | 3.3961 | 3.3801 |  |  | 13.1385 | 13.0681 | 13.1033
Additional experiement
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #3 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
2 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
3 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
5 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
6 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0
Plant Filterate |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
TS - VS
Sample ID/# | Foil Tray (g) #3 | Foil Tray (g) #2 | Tray +Sample (g) #3 | Tray + Sample (g) #2 | After 103 °C #3 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 |  | VS-1 (%) | VS-2 (%) | VS (%)
1 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
3 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #REF! | #DIV/0! | #REF!
4 | [6 empty] | #DIV/0! | #REF! | #DIV/0! |  |  | #REF! | #DIV/0! | #REF!
5 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
6 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Plant Cake | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Sludge | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
=
Actual Polymer Added (lb/ton) | CST Supernatant (second) | CST Sludge (second) | Lab Cake TS (%) | Lab Filtrate TSS (mg TSS/L) | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Note: Based on Supernatant | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Ave | Diff | Tolerance (%) | 1 or 2 | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Target Fiftrate TSS (mg TSS/L) | EOPD checked with Filtrate TSS (lb/ton) | Check filtrate condition | 1 or 2 | EPD Manual Checked with Cake TS (lb/ton) | EPD Manual Cake TS (%) | EPD Manual Filtrate TSS (mg TSS/L) | Manual check (yes/No) | Note | Grab Plant PD (lb/Ton) | Plant Cake TS (%) | Plant Filtrate (mg TSS/L) | Lab DW Feed TS (%) | OPD Manual checked | EPD Manual checked
16.5585 | 55.4 | 128.6 | 31.7232 | 715 | 55.4 | 0 | 10 |  | 21.4636 | 30.7477 | 555 | 21.4636 | 30.7477 | 555 | 0 |  | 128.6 |  |  |  | 21.4636 | 31.3953 | 555 | 21.4636 | 31.3953 | 555 | 0 | 31.7232 | 0 | 0 |  | #N/A | #N/A | #N/A | 812 | #N/A |  | #N/A | 16.5585 | 31.7232 | 715 | 1 |  | 23.3723 | 30.5721 | 370 | 3.3801 |  | 1
18.7306 | 38.7 | 50.2 | 30.7477 | 555 | 47.05 | 17.7471 | 10 | 2 | [8 empty] | 89.4 | 43.8479 | 10 | 2 | [7 empty] | 31.2355 | 1.5616 | 1 | 2
21.4636 | 25.9 | 40.2 | 31.3953 | 535 | 32.3 | 19.8142 | 10 | 1 | [8 empty] | 45.2 | 11.0619 | 10 | 1 | [7 empty] | 31.0715 | -1.0422 | 1 | 2
23.4354 | 27.5 | 42.3 | 31.5124 | 425 | 26.7 | -2.9963 | 10 | 2 | [8 empty] | 41.25 | -2.5455 | 10 | 2 | [7 empty] | 31.4538 | -0.18609 | 1 | 2
26.1751 | 34.6 | 40.6 | 32.8464 | 335 | 31.05 | -11.4332 | 10 | 2 | [8 empty] | 41.45 | 2.0507 | 10 | 2 | [7 empty] | 32.1794 | -2.0728 | 1 | 2
`
Note on B12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Use Power BI link to keep track of SBT3 TS Reply: https://app.powerbi.com/links/HmphV_SRql?ctid=8d05cdc4-bf69-4e6a-b5d3-428050a7f00f&pbi_source=linkShare&bookmarkGuid=8646a84a-93f8-4958-b225-6d1c00498ce5
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: During the testing, please use previous fe feed TS for decision making, Please make sure we use the measured valued in the same day to estimate the right polymer dose in lb/ton
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Red highlighted value comes from plant data conversion table
Note on N41: Parnia Behbahani (CTR): the color of supernatant for fist sample is dark.
Note on D50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample volume will remain same unless need to change due to thickness of filtrate
Note on D61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample + Tray weight >= 5g

## 03_21_2025
General guidelines:
fill in blue cells
other cells are calculated
Bench Scale Dewatering test Summary - 03/21/2025
Plant Data Conversion |  |  |  |  | Summary Table
Shampling time | 8:00 | [8 empty] | Data QAQC Name | Data QAQC (yes/No) | Comment | Notes: first round, we'll do the QA/AC with first 25 tabs
Belt No. | B2 | Poly Loading (lb) | 489.091 |  | Shampling time | 8:00 |  |  |  | Parnia | 1 |  | from the tab 2_21_2025 to 8_20_2024
Poly Ratio | 0.18 | Floc Poly Flow (gpm) | 16.29 |  |  | unit | Plant | OPD | EPD | Hung Chieu | 0
Sludge Flow (gpm) | 90.5 | Poly Floc Flow (mgd) | 0.023458 |  | BFP TS | %TS | 4.04 |  |  | Tu Duong | 1 | [9 empty] | Test Details | [12 empty] | Target table
Polymer sol. | 0.25 | Sludge Flow(mgd) | 0.13032 |  | Polymer ratio setting | - | 0.18 | 0.18 | 0.18 | Nam Ngo | 0
SBT3 TS % LAB_TSPCT_J04 | 5.5 | Calculated BFP TS (%) | 3.2602 |  | Polymer dose | lb/tonTS | 22.2772 | 20.7442 | 15.0212 | Haydee | 0 | [23 empty] | BFP TS | Filtrate TS
BFP TS % | 4.04 | BFP Sludge Loading (dtpd) | 17.7169 |  | Cake TS | %TS | 31.7197 | 31.3234 | 30.4375 | [11 empty] | Sampling time |  | 8:00 | [10 empty] | Unit | % | mg TSS/L
DIG SLDG FLOW FROM SBT (gpm) | 262 | Plant Polydose (Ib/ton) - method 1 | 27.6058 |  | Filtrate TSS | mg TSS/L | 555 | 620 | 620 | [11 empty] | Analyzer |  | Parnia | [11 empty] | 3 - 3.9 | < 812
DIL WTR FLOW TO BFP (gpm) | 180 | Plant Polydose (Ib/ton) - method 2 | 22.2772
Summary Table
Assumptions and Constants:
[31 empty] | Details |  |  |  | batch testing
1 g = | 0.0022046 | lb | [30 empty] | unit | Plant | OPD | EPD
1 g = | 1.1023e-06 | ton
Cup Diameter | 3.95 | inches | [28 empty] | BFP TS |  | %TS | 4.04
Cup Area: | 0.0079059 | m2 | [28 empty] | Polymer ratio setting |  | vol/vol | 0.18
Aiming for 0.80 kg of DS per m2 of cup area | [30 empty] | Polymer dose |  | lb/tonTS | 22.2772 | 20.7442 | 15.0212
Cup Loading | 6.3247 | grams of DS | [28 empty] | Cake TS |  | %TS | 31.7197 | 31.3234 | 30.4375
Assuming | 3.5 | TS in sludge | [28 empty] | Filtrate TSS |  | mg TSS/L | 555 | 620 | 620
Assuming 100% Capture in free drainage
Polymer Solution | 0.25
Plains Target DS | 4 to 7 | kg DS/m | [28 empty] | Remarks:
- Based on the initial a little bit overdosing condition (PD = ~22.28lb/ton)
need to decrease the polymer ratio
Calculation | [30 empty] | - Based on the graph, the OPD =20.74 < PD
Sample # | Polymer Dose (lb polymer/ ton sludge) | Actual Belt Filter Press before PD TS (%) | Sludge Weight (g) | Calculation Polymer Added(g) | Polymer Before (g) | Poymer after (g) | Actual Polymer Added (g) | Actual Polymer Added (lb/ton) | Sieve Weight (g) | Bucket Weight (g) | Sieve + Wet Solids Weight (g) | Bucket + Filtrate (g) | Capture Efficiency (%) | Filtered Solids (g) | Filtrate (g) | Estimated TS% of Wet Solids on frabic | Target WS in Cup (g) | [13 empty] | Conclusion: Experiment results are consistent with expectations.
1 | 12.5 | 4.04 | 500.49 | 50.5495 | 51.96 | 1.01 | 50.95 | 12.599 | 204.72 | 399.08 | 370.14 | 739.65 | 100 | 165.42 | 340.57 | 11.2159 | 56.3909
2 | 15 | 4.04 | 501.85 | 60.8242 | 61.87 | 0.96 | 60.91 | 15.0212 | 206.97 | 401.08 | 362.27 | 761.48 | 100 | 155.3 | 360.4 | 11.9635 | 52.8669 | [13 empty] | confirming that reducing polymer improves efficiency.
3 | 16 | 4.04 | 502.2 | 64.9244 | 65.69 | 0.55 | 65.14 | 16.0531 | 465.97 | 405.85 | 635.18 | 768.35 | 100 | 169.21 | 362.5 | 11.2373 | 56.2831 | [13 empty] | - EPD < OPD < PD
4 | 17 | 4.04 | 500.51 | 68.75 | 69.85 | 0.96 | 68.89 | 17.0346 | 455.76 | 355.15 | 611.7 | 724.52 | 100 | 155.94 | 369.37 | 11.9629 | 52.8697 | [13 empty] | - We can achieve cost savings by operating at OPD instead of PD.
5 | 19 | 4.04 | 501.35 | 76.9672 | 77.15 | 1.31 | 75.84 | 18.7217 | 447.54 | 684.7 | 614.05 | 1045.65 | 100 | 166.51 | 360.95 | 11.1161 | 56.8969 | [13 empty] | 1.533 | lb/tons
6 | 20.5 | 4.04 | 501.81 | 83.1198 | 85.21 | 1.1 | 84.11 | 20.7442 | 411.5 | 946.5 | 553.74 | 1337.12 | 100 | 142.24 | 390.62 | 12.9621 | 48.7942
7 | 22.3 | 4.04 | 500.98 | 90.2686 | 92.95 | 1.3 | 91.65 | 22.6413 | 454.75 | 397.11 | 618.39 | 787.43 | 100 | 163.64 | 390.32 | 11.5613 | 54.7059
Sample # | CST Sludge (Avrg) | CST Supernatant (Avrg) | CST Sludge |  |  |  |  | CST Supernatant
1 | 230.2 | #DIV/0! | 230.2
2 | 201.6 | 15 | 201.6
3 | 95.4 | 16 | 95.4 | 97.6
4 | 68.6 | 17 | 68.6
5 | 55.2 | 19 |  | 55.2 | 54.8
6 | 39.6 | 20.5 | 40.1 | 39.6
7 | 43.3 | 22.3 | 43.3 | 41.2
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 | 1.1199 | 1.115 | 10 | 10 | 1.129 | 1.124 | 1 | 0.91 | 0.9 | 0.905 |  |  | 112900 | 112400 | 112400
2 | 1.1103 | 1.0958 | 10 | 10 | 1.1189 | 1.1048 | 1 | 0.86 | 0.9 | 0.88 |  |  | 111890 | 110480 | 111185
3 | 1.1188 | 1.1129 | 10 | 10 | 1.126 | 1.1199 | 1 | 0.72 | 0.7 | 0.71 |  |  | 112600 | 111990 | 111990
4 | 1.1142 | 1.101 | 10 | 10 | 1.1208 | 1.1078 | 1 | 0.66 | 0.68 | 0.67 |  |  | 112080 | 110780 | 110780
5 | 1.1168 | 1.1157 | 10 | 10 | 1.1229 | 1.122 | 1 | 0.61 | 0.63 | 0.62 |  |  | 112290 | 112200 | 112245
6 | 1.1221 | 1.1209 | 10 | 10 | 1.1274 | 1.126 | 1 | 0.53 | 0.51 | 0.52 |  |  | 112740 | 112600 | 112600
7 | 1.118 | 1.127 | 10 | 10 | 1.1236 | 1.1325 | 1 | 0.56 | 0.55 | 0.555 |  |  | 112360 | 113250 | 113250
Plant Filterate | 1.122 | 1.1104 | 10 | 10 | 1.1266 | 1.1149 | 1 | 0.46 | 0.45 | 0.455 |  |  | 112660 | 111490 | 111490
TS - VS
Sample ID/# | Foil Tray (g) #1 | Foil Tray (g) #2 | Tray +Sample (g) #1 | Tray + Sample (g) #2 | After 103 °C #1 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 | After 550 °C #2 | VS-1 (%) | VS-2 (%) | VS (%)
1 | 0.9956 | 0.9921 | 5.2994 | 5.2906 | 2.2528 | 2.2587 | 29.2114 | 29.4661 | 29.3387 |  |  | 42.5105 | 42.6927 | 42.6016
2 | 0.9959 | 0.9972 | 5.2544 | 5.1435 | 2.2578 | 2.239 | 29.6325 | 29.9496 | 29.791 |  |  | 42.9697 | 43.5307 | 43.2502
3 | 1.0007 | 0.988 | 5.4308 | 5.2054 | 2.3657 | 2.2975 | 30.8119 | 31.0499 | 30.9309 |  |  | 43.5608 | 44.1369 | 43.8488
4 | 1.0016 | 0.9963 | 5.2364 | 5.3712 | 2.3445 | 2.402 | 31.7111 | 32.131 | 31.921 |  |  | 44.7731 | 44.72 | 44.7466
5 | 0.9999 | 0.9976 | 5.3014 | 5.4413 | 2.3036 | 2.3559 | 30.308 | 30.5669 | 30.4375 |  |  | 43.4527 | 43.2966 | 43.3747
6 | 0.9802 | 1.0136 | 5.307 | 5.2592 | 2.3264 | 2.3524 | 31.1131 | 31.5338 | 31.3234 |  |  | 43.8364 | 44.7292 | 44.2828
7 | 0.9787 | 0.9908 | 5.105 | 5.119 | 2.2941 | 2.2937 | 31.8784 | 31.561 | 31.7197 |  |  | 44.9383 | 44.8076 | 44.8729
Plant Cake | 1.0043 | 0.9936 | 5.4299 | 5.4103 | 2.4602 | 2.4381 | 32.8972 | 32.7054 | 32.8013 |  |  | 45.3084 | 45.064 | 45.1862
Sludge | 0.9985 | 1.0027 | 5.2777 | 5.432 | 1.1702 | 1.1827 | 4.0124 | 4.0638 | 4.0381 |  |  | 22.1725 | 21.7728 | 21.9727
Additional experiement
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
2 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
3 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
5 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
6 |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0
Plant Filterate |  |  | 10 | 10 |  |  | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0
TS - VS
Sample ID/# | Foil Tray (g) #3 | Foil Tray (g) #2 | Tray +Sample (g) #3 | Tray + Sample (g) #2 | After 103 °C #3 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 |  | VS-1 (%) | VS-2 (%) | VS (%)
1 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
2 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
3 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
4 | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #REF! | #DIV/0! | #REF!
5 | [6 empty] | #DIV/0! | #REF! | #DIV/0! |  |  | #REF! | #DIV/0! | #REF!
6 | [6 empty] | #DIV/0! | #REF! | #DIV/0!
Plant Cake | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Sludge | [6 empty] | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
7 Cake
7 Filtrate
Actual Polymer Added (lb/ton) | CST Supernatant (second) | CST Sludge (second) | Lab Cake TS (%) | Lab Filtrate TSS (mg TSS/L) | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Note: Based on Supernatant | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Cake optimal | cake optimal (TS) | optimal cake | EPD determination | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Target Fiftrate TSS (mg TSS/L) | EOPD checked with Filtrate TSS (lb/ton) | Check filtrate condition | 1 or 2 | EPD Manual Checked with Cake TS (lb/ton) | EPD Manual Cake TS (%) | EPD Manual Filtrate TSS (mg TSS/L) | Manual check (yes/No) | Note | Grab Plant PD (lb/Ton) | Plant Cake TS (%) | Plant Filtrate (mg TSS/L) | Lab DW Feed TS (%) | OPD Manual checked | EPD Manual checked
12.599 |  | 230.2 | 29.3387 | 905 | #DIV/0! | #DIV/0! | 10 |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 |  | 230.2 |  |  |  | 20.7442 | 31.3234 | 620 | 20.7442 | 31.3234 | 620 | 0 |  |  | 32.0624 | 2 | 15.0212 | 30.4375 | 620 | 1000 | 620 |  | 1 | 15.0212 | 30.4375 | 620 | 0 |  | 22.2772 | 31.7197 | 555 | 32.8013
15.0212 |  | 201.6 | 29.791 | 880 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 215.9 | 6.6234 | 10 | 2 | [9 empty] | 1.045 | 3 | [17 empty] | 1
16.0531 |  | 95.4 | 30.9309 | 710 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 148.5 | 35.7576 | 10 | 2 | [9 empty] | 31.0174 | 2 | [16 empty] | 1
17.0346 |  | 68.6 | 31.921 | 670 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 82 | 16.3415 | 10 | 2 | [10 empty] | 3
18.7217 |  | 55.2 | 30.4375 | 620 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 61.9 | 10.8239 | 10 | 2 | [10 empty] | 1
20.7442 |  | 39.6 | 31.3234 | 520 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 47.4 | 16.4557 | 10 | 1 | [7 empty] | 1 | 31.3234 |  | 1
22.6413 |  | 43.3 | 32.8013 | 555 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 41.45 | -4.4632 | 10 | 2 | [7 empty] | 1 |  | 3.2593 | 1
Haydee's calculations
is EPD cake TS < than OPD cake TS or higher?
[28 empty] | 31.0965 |  | 30.341
[28 empty] | 0.75552 |  |  | 0.74645
[8 empty] | ` | [18 empty] | error% | 2.4296 | (<10% to have valid data for EPD determination)
Note on B12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Use Power BI link to keep track of SBT3 TS Reply: https://app.powerbi.com/links/HmphV_SRql?ctid=8d05cdc4-bf69-4e6a-b5d3-428050a7f00f&pbi_source=linkShare&bookmarkGuid=8646a84a-93f8-4958-b225-6d1c00498ce5
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: During the testing, please use previous fe feed TS for decision making, Please make sure we use the measured valued in the same day to estimate the right polymer dose in lb/ton
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Red highlighted value comes from plant data conversion table
Note on N42: Parnia Behbahani (CTR): the color of supernatant for fist sample is dark.
Note on D50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample volume will remain same unless need to change due to thickness of filtrate
Note on D61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample + Tray weight >= 5g
Note on AE97: Hua G. Chieu (CTR): Average of all Cake TS after OPD point.
Note on AE98: Hua G. Chieu (CTR): Stdev of all Cake TS after OPD point.
Note on AE99: Hua G. Chieu (CTR): If stdev < 10% error, then optimal cake TS = avg - stdev of the cake TS after OPD point
Note on AE103: Hua G. Chieu (CTR): % error of stdev

## 03_18_2025
General guidelines:
fill in blue cells
other cells are calculated
Bench Scale Dewatering test Summary - 02/28/2025
Plant Data Conversion |  |  |  |  | Summary Table
Shampling time | 10:00 | [8 empty] | Data QAQC Name | Data QAQC (yes/No) | Comment | Notes: first round, we'll do the QA/AC with first 25 tabs
Belt No. | B2 | Poly Loading (lb) | 392.0954 |  | Shampling time | 10:00 |  |  |  | Parnia |  |  | from the tab 2_21_2025 to 8_20_2024
Poly Ratio | 0.167 | Floc Poly Flow (gpm) | 13.0594 |  |  | unit | Plant | OPD | EPD | Hung Chieu | 1
Sludge Flow (gpm) | 78.2 | Poly Floc Flow (mgd) | 0.018806 |  | BFP TS | %TS | 3.5 |  |  | Tu Duong | 1 | [9 empty] | Test Details | [12 empty] | Target table
Polymer sol. | 0.25 | Sludge Flow(mgd) | 0.11261 |  | Polymer ratio setting | - | 0.167 | 0.167 | 0.167 | Nam Ngo | 0
SBT3 TS % LAB_TSPCT_J04 | 5.5 | Calculated BFP TS (%) | 3.587 |  | Polymer dose | lb/tonTS | 23.8571 | 19.3161 | 15.2225 | Haydee | 0 | [23 empty] | BFP TS | Filtrate TS
BFP TS % | 3.5 | BFP Sludge Loading (dtpd) | 16.8435 |  | Cake TS | %TS | 30.4793 | 31.8388 | 32.0828 | [11 empty] | Sampling time |  | 10:00 | [10 empty] | Unit | % | mg TSS/L
DIG SLDG FLOW FROM SBT (gpm) | 270 | Plant Polydose (Ib/ton) - method 1 | 23.2788 |  | Filtrate TSS | mg TSS/L | 375 | 640 | 795 | [11 empty] | Analyzer |  | Parnia | [11 empty] | 3 - 3.9 | < 812
DIL WTR FLOW TO BFP (gpm) | 144 | Plant Polydose (Ib/ton) - method 2 | 23.8571
Summary Table
Assumptions and Constants:
[31 empty] | Details |  |  |  | batch testing
1 g = | 0.0022046 | lb | [30 empty] | unit | Plant | OPD | EPD
1 g = | 1.1023e-06 | ton
Cup Diameter | 3.95 | inches | [28 empty] | BFP TS |  | %TS | 3.5
Cup Area: | 0.0079059 | m2 | [28 empty] | Polymer ratio setting |  | vol/vol | 0.167
Aiming for 0.80 kg of DS per m2 of cup area | [30 empty] | Polymer dose |  | lb/tonTS | 23.8571 | 19.3161 | 15.2225
Cup Loading | 6.3247 | grams of DS | [28 empty] | Cake TS |  | %TS | 30.4793 | 31.8388 | 32.0828
Assuming | 3.5 | TS in sludge | [28 empty] | Filtrate TSS |  | mg TSS/L | 375 | 640 | 795
Assuming 100% Capture in free drainage
Polymer Solution | 0.25
Plains Target DS | 4 to 7 | kg DS/m | [28 empty] | Remarks:
- Based on the initial a little bit overdosing condition (PD = ~18.54lb/ton)
need to decrease the polymer ratio
Calculation | [30 empty] | - Based on the graph, the OPD =16.55 < PD
Sample # | Polymer Dose (lb polymer/ ton sludge) | Actual Belt Filter Press before PD TS (%) | Sludge Weight (g) | Calculation Polymer Added(g) | Polymer Before (g) | Poymer after (g) | Actual Polymer Added (g) | Actual Polymer Added (lb/ton) | Sieve Weight (g) | Bucket Weight (g) | Sieve + Wet Solids Weight (g) | Bucket + Filtrate (g) | Capture Efficiency (%) | Filtered Solids (g) | Filtrate (g) | Estimated TS% of Wet Solids on frabic | Target WS in Cup (g) | [13 empty] | Conclusion: Experiment results are consistent with expectations.
1 | 12.5 | 3.5 | 500.43 | 43.7876 | 45.12 | 0.7 | 44.42 | 12.6805 | 454.65 | 686.5 | 591.44 | 700.55 | 100 | 136.79 | 14.05 | 3.5448 | 178.4206
2 | 15 | 3.5 | 500.2 | 52.521 | 54.05 | 0.75 | 53.3 | 15.2225 | 449.1 | 399.12 | 590.25 | 758.25 | 100 | 141.15 | 359.13 | 11.2105 | 56.4177 | [13 empty] | confirming that reducing polymer improves efficiency.
3 | 17 | 3.5 | 500.03 | 59.5036 | 61.06 | 0.82 | 60.24 | 17.2104 | 406.27 | 400.99 | 550.25 | 784.75 | 100 | 143.98 | 383.76 | 11.4494 | 55.2404 | [13 empty] | - EPD < OPD < PD
4 | 19 | 3.5 | 500.25 | 66.5332 | 68.45 | 0.81 | 67.64 | 19.3161 | 204.68 | 326.43 | 350.94 | 678.38 | 100 | 146.26 | 351.95 | 10.5021 | 60.2232 | [13 empty] | - We can achieve cost savings by operating at EPD instead of PD.
5 | 20.5 | 3.5 | 500.23 | 71.783 | 73.63 | 0.81 | 72.82 | 20.7962 | 205.9 | 325.31 | 346.82 | 708.39 | 100 | 140.92 | 383.08 | 11.3607 | 55.6721 | [13 empty] | -1.6035 | lb/tons
6 | 21.5 | 3.5 | 500.05 | 75.2575 | 77.28 | 1.02 | 76.26 | 21.7864 | 159.42 | 408.18 | 306.9 | 805.49 | 100 | 147.48 | 397.31 | 11.2182 | 56.3794
Sample # | CST Sludge (Avrg) | CST Supernatant (Avrg) | CST Sludge |  |  |  |  | CST Supernatant
1 | 120.8 | #DIV/0! | 120.8
2 | 73.1 | #DIV/0! | 68.8 | 73.1
3 | 55.9 | #DIV/0! | 65.5 | 55.9
4 | 45.4 | #DIV/0! | 51.5 | 45.4
5 | 38.1 | #DIV/0! | 29.7 | 30 | 38.1
6 | 39.7 |  | 39.7
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 | 1.1115 | 1.1165 | 10 | 10 | 1.1192 | 1.1247 | 1 | 0.77 | 0.82 | 0.795 |  |  | 111920 | 112470 | 112470
3 | 1.1085 | 1.1193 | 10 | 10 | 1.1152 | 1.1261 | 1 | 0.67 | 0.68 | 0.675 |  |  | 111520 | 112610 | 112065
2 | 1.1208 | 1.1096 | 10 | 10 | 1.1272 | 1.116 | 1 | 0.64 | 0.64 | 0.64 |  |  | 112720 | 111600 | 111600
4 | 1.1136 | 1.1159 | 10 | 10 | 1.1189 | 1.1216 | 1 | 0.53 | 0.57 | 0.55 |  |  | 111890 | 112160 | 112025
5 | 1.1114 | 1.1192 | 10 | 10 | 1.1154 | 1.124 | 1 | 0.4 | 0.48 | 0.44 |  |  | 111540 | 112400 | 112400
6 | 1.1102 | 1.1106 | 10 | 10 | 1.1146 | 1.115 | 1 | 0.44 | 0.44 | 0.44 |  |  | 111460 | 111500 | 111500
Plant Filterate | 1.115 | 1.1216 | 10 | 10 | 1.1188 | 1.1253 | 1 | 0.38 | 0.37 | 0.375 |  |  | 111880 | 112530 | 112530
TS - VS
Sample ID/# | Foil Tray (g) #1 | Foil Tray (g) #2 | Tray +Sample (g) #1 | Tray + Sample (g) #2 | After 103 °C #1 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 | After 550 °C #2 | VS-1 (%) | VS-2 (%) | VS (%)
1 | 1.0045 | 0.9879 | 5.7395 | 5.4818 | 2.5199 | 2.4332 | 32.0042 | 32.1614 | 32.0828 |  |  | 43.9045 | 44.3869 | 44.1457
2 | 0.9859 | 0.9985 | 6.0491 | 6.43 | 2.6355 | 2.7649 | 32.5802 | 32.5214 | 32.5508 |  |  | 43.5685 | 43 | 43.2842
3 | 0.9885 | 0.997 | 6.0865 | 6.0671 | 2.6398 | 2.6334 | 32.3911 | 32.2755 | 32.3333 |  |  | 43.3714 | 43.4046 | 43.388
4 | 0.9899 | 1.0212 | 5.1554 | 6.4198 | 2.3229 | 2.7313 | 32.001 | 31.6767 | 31.8388 |  |  | 39.565 | 45.0182 | 42.2916
5 | 1.004 | 0.9992 | 5.8711 | 6.3391 | 2.5495 | 2.7003 | 31.754 | 31.8564 | 31.8052 |  |  | 43.4246 | 42.0621 | 42.7433
| 0.991 | 1.004 | 6.1707 | 5.8765 | 2.6642 | 2.5871 | 32.303 | 32.4905 | 32.3968
Plant Cake | 1.0302 | 0.9913 | 5.3262 | 5.0174 | 2.3297 | 2.2277 | 30.2491 | 30.7096 | 30.4793 |  |  | 43.7404 | 44.3995 | 44.0699
Sludge | 0.9972 | 1.0051 | 10.4413 | 10.5265 | 1.3299 | 1.3364 | 3.5228 | 3.4795 | 3.5012 |  | 1.1215 |  | 2.0415 | 2.0415
Additional experiement
TSS - VSS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%)
1 | 1.1137 |  | 10 | 10 | 1.1214 |  | 1 | 0.77 | 0 | 0.385 |  |  | 112140 | 0 | 0
2 | 1.1159 |  | 10 | 10 | 1.1216 |  | 1 | 0.57 | 0 | 0.285 |  |  | 112160 | 0 | 0
3 | 1.1122 |  | 10 | 10 | 1.1191 |  | 1 | 0.69 | 0 | 0.345 |  |  | 111910 | 0 | 55955
4 | 1.1252 |  | 10 | 10 | 1.1316 |  | 1 | 0.64 | 0 | 0.32 |  |  | 113160 | 0 | 56580
5 | 1.1227 |  | 10 | 10 | 1.127 |  | 1 | 0.43 | 0 | 0.215 |  |  | 112700 | 0 | 0
6 | 1.1102 |  | 10 | 10 | 1.1146 |  | 1 | 0.44 | 0 | 0.22
Plant Filterate | 1.1118 |  | 10 | 10 | 1.1159 |  | 1 | 0.41 | 0 | 0.205 |  |  | 111590 | 0 | 0
TS - VS
Sample ID/# | Foil Tray (g) #3 | Foil Tray (g) #2 | Tray +Sample (g) #3 | Tray + Sample (g) #2 | After 103 °C #3 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 |  | VS-1 (%) | VS-2 (%) | VS (%)
1 | 1.0045 |  | 5.7395 |  | 2.5199 |  | 32.0042 | #DIV/0! | #DIV/0! |  |  | 43.9045 | #DIV/0! | #DIV/0!
2 | 0.9985 |  | 6.43 |  | 2.7649 |  | 32.5214 | #DIV/0! | #DIV/0! |  |  | 43 | #DIV/0! | #DIV/0!
3 | 0.9868 |  | 6.2088 |  | 2.6386 |  | 31.6316 | #DIV/0! | #DIV/0! |  |  | 42.4977 | #DIV/0! | #DIV/0!
4 | 1.0212 |  | 6.4198 |  | 2.7313 |  | 31.6767 | #DIV/0! | #DIV/0! |  |  | #REF! | #DIV/0! | #REF!
5 | 1.004 |  | 5.8711 |  | 2.5495 |  | 31.754 | #REF! | #REF! |  |  | #REF! | #DIV/0! | #REF!
6 | 1.0018 |  | 7.5158 |  | 3.1259 |  | 32.6082 | #REF! | #REF!
Plant Cake | 0.9913 |  | 5.0174 |  | 2.2277 |  | 30.7096 | #DIV/0! | #DIV/0! |  |  | 44.3995 | #DIV/0! | #DIV/0!
Sludge | 0.9972 |  | 10.2122 |  | 1.316 |  | 3.4596 | #DIV/0! | #DIV/0! | 1.108 |  | 2.0368 | #DIV/0! | #DIV/0!
=
Actual Polymer Added (lb/ton) | CST Supernatant (second) | CST Sludge (second) | Lab Cake TS (%) | Lab Filtrate TSS (mg TSS/L) | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Note: Based on Supernatant | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Cake optimal | cake optimal (TS) | optimal cake | EPD determination | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Target Fiftrate TSS (mg TSS/L) | EOPD checked with Filtrate TSS (lb/ton) | Check filtrate condition | 1 or 2 | EPD Manual Checked with Cake TS (lb/ton) | EPD Manual Cake TS (%) | EPD Manual Filtrate TSS (mg TSS/L) | Manual check (yes/No) | Note | Grab Plant PD (lb/Ton) | Plant Cake TS (%) | Plant Filtrate (mg TSS/L) | Lab DW Feed TS (%) | OPD Manual checked | EPD Manual checked
12.6805 | #DIV/0! | 120.8 | 32.0828 | 795 | #DIV/0! | #DIV/0! | 10 |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 |  | 120.8 |  |  |  | 19.3161 | 31.8388 | 640 | 19.3161 | 31.8388 | 640 | 0 |  |  | 32.0136 | 1 | 15.2225 | 32.0828 | 795 | 1000 | 795 |  | 1 | 15.2225 | 32.0828 | 795 | 0 |  | 23.8571 | 30.4793 | 375 | 3.5012
15.2225 | #DIV/0! | 73.1 | 22 | 675 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 96.95 | 24.6003 | 10 | 2 | [9 empty] | 0.33225 | 2 | [17 empty] | 1
17.2104 | #DIV/0! | 55.9 | 32.3333 | 640 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 64.5 | 13.3333 | 10 | 2 | [9 empty] | 31.6814 | 1 | [16 empty] | 1
19.3161 | #DIV/0! | 45.4 | 31.8388 | 550 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 50.65 | 10.3653 | 10 | 1 | [7 empty] | 1 | 31.8388 |  | 1
20.7962 | #DIV/0! | 38.1 | 31.8052 | 440 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 41.75 | 8.7425 | 10 | 2 | [7 empty] | 1 | 31.8052 |  | 1
21.7864 | 0 | 39.7 | 32.3968 | 440 | #DIV/0! | #DIV/0! | 10 | #DIV/0! | [8 empty] | 38.9 | -2.0566 | 10 | 2 | [7 empty] | 1 | 32.3968 |  | 1
1.0378
Haydee's calculations
is EPD cake TS < than OPD cake TS or higher?
[28 empty] | 31.9925 |  | 31.6968
[28 empty] | 0.29567 |  |  | 0.33225
[8 empty] | ` | [18 empty] | error% | 0.92419 | (<10% to have valid data for EPD determination)
Note on B12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Use Power BI link to keep track of SBT3 TS Reply: https://app.powerbi.com/links/HmphV_SRql?ctid=8d05cdc4-bf69-4e6a-b5d3-428050a7f00f&pbi_source=linkShare&bookmarkGuid=8646a84a-93f8-4958-b225-6d1c00498ce5
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: During the testing, please use previous fe feed TS for decision making, Please make sure we use the measured valued in the same day to estimate the right polymer dose in lb/ton
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Red highlighted value comes from plant data conversion table
Note on N42: Parnia Behbahani (CTR): the color of supernatant for fist sample is dark.
Note on D50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample volume will remain same unless need to change due to thickness of filtrate
Note on D61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample + Tray weight >= 5g
Note on AE97: Hua G. Chieu (CTR): Average of all Cake TS after OPD point.
Note on AE98: Hua G. Chieu (CTR): Stdev of all Cake TS after OPD point.
Note on AE99: Hua G. Chieu (CTR): If stdev < 10% error, then optimal cake TS = avg - stdev of the cake TS after OPD point
Note on AE103: Hua G. Chieu (CTR): % error of stdev

## 05_28_2020
General guidelines:
fill in blue cells
other cells are calculated
Bench Scale Dewatering test Summary - 05/28/2024
Plant Data Conversion |  |  |  |  | Summary Table
Belt No. | A4 | Poly Loading (lb) | 448.8288 |  |  |  |  | batch testing
Poly Ratio | 0.165 | Floc Poly Flow (gpm) | 14.949 |  |  | unit | Plant | OPD | EPD
Sludge Flow (gpm) | 90.6 | Poly Floc Flow (mgd) | 0.021527 |  | BFP TS | %TS | 3.5085
Polymer sol. | 0.25 | Sludge Flow(mgd) | 0.13046 |  | Polymer ratio setting | - | 0.165 | 0.165 | 0.165
SBT3 TS % LAB_TSPCT_J04 | 6.1 | Calculated BFP TS (%) | 3.7289 |  | Polymer dose | lb/tonTS | 21.7109 | 26.6031 | 23.8997
BFP TS % | 3.7999 | BFP Sludge Loading (dtpd) | 20.2865 |  | Cake TS | %TS | 28.6677 | 26.0874 | 29.7472
DIG SLDG FLOW FROM SBT (gpm) | 552 | Plant Polydose (Ib/ton) - method 1 | 22.1245 |  | Filtrate TSS | mg TSS/L | 600 | 810 | 705
DIL WTR FLOW TO BFP (gpm) | 351 | Plant Polydose (Ib/ton) - method 2 | 21.7109
Assumptions and Constants:
1 g = | 0.0022046 | lb
1 g = | 1.1023e-06 | ton
Cup Diameter | 3.95 | inches
Cup Area: | 0.0079059 | m2
Aiming for 0.80 kg of DS per m2 of cup area
Cup Loading | 6.3247 | grams of DS
Assuming | 3.5 | TS in sludge
Assuming 100% Capture in free drainage
Polymer Solution | 0.25
Plains Target DS | 4 to 7 | kg DS/m
Calculation
Sample # | Polymer Dose (lb polymer/ ton sludge) | Actual Belt Filter Press before PD TS (%) | Sludge Weight (g) | Calculation Polymer Added(g) | Polymer Before (g) | Poymer after (g) | Actual Polymer Added (g) | Actual Polymer Added (lb/ton) | Sieve Weight (g) | Bucket Weight (g) | Sieve + Wet Solids Weight (g) | Bucket + Filtrate (g) | Capture Efficiency (%) | Filtered Solids (g) | Filtrate (g) | Estimated TS% of Wet Solids on frabic | Target WS in Cup (g)
1 | 17 | 3.8 | 504.72 | 65.2098 | 67.24 | 1.98 | 65.26 | 17.0131 | 206.64 | 408.48 | 351.96 | 786.95 | 100 | 145.32 | 378.47 | 12.1285 | 52.1477
2 | 19 | 3.8 | 503.8 | 72.7487 | 73.85 | 2.11 | 71.74 | 18.7366 | 205.76 | 407.97 | 353.89 | 795.38 | 100 | 148.13 | 387.41 | 12.0258 | 52.5928
3 | 21.5 | 3.8 | 501.37 | 81.9238 | 83.5 | 1.9 | 81.6 | 21.415 | 159.38 | 412.95 | 301.78 | 785.76 | 100 | 142.4 | 372.81 | 11.8242 | 53.4899
4 | 24 | 3.8 | 502.76 | 91.7034 | 92.92 | 1.6 | 91.32 | 23.8997 | 401.68 | 399.01 | 540.86 | 759.18 | 100 | 139.18 | 360.17 | 11.5379 | 54.8168
5 | 26.5 | 3.8 | 500.98 | 100.8973 | 102.91 | 1.62 | 101.29 | 26.6031 | 509.76 | 686.52 | 684.82 | 1047 | 100 | 175.06 | 360.48 | 9.6698 | 65.4069
6 | 29 | 3.8 | 504.06 | 111.0948 | 112.85 | 1.22 | 111.63 | 29.1397 | 443.26 | 361.64 | 571.18 | 741 | 100 | 127.92 | 379.36 | 12.3371 | 51.2659
CST Table | [16 empty] | 0
Sample # | CST Sludge (Avrg) | CST Supernatant (Avrg) | CST Sludge |  |  |  |  | CST Supernatant
1 | 121.6 | 47.9667 |  |  | 128.9 | 114.3 |  | 42.7 | 54.6 | 46.6
2 | 114.4333 | 45.05 | 91.6 | 133 | 118.7 |  |  | 41.8 |  | 48.3
3 | 55.6 | 43.9333 |  | 52.7 | 58.5 | 65 |  | 42.9 | 39.7 | 49.2 | [9 empty] | Summary - 05 - 03 - 2024 | [7 empty] | Trend over time
4 | 49.2 | 39.8 | 54.4 | 44 |  |  | 67 | 37.7 | 37.1 | 44.6
5 | 40.55 | 34.05 | 42.1 | 41.7 | 39.4 |  |  | 33.1 |  | 35 |  | 43.7
6 | 39.8333 | 24.0333 | 39 | 41 | 39.5 |  |  | 28.7 | 22.4 | 21
TSS - VSS | [23 empty] | BFP TS | Filtrate TS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%) | [7 empty] | Unit | % | mg TSS/L
1 | 1.0936 | 1.0981 | 10 | 10 | 1.105 | 1.1105 | 1 | 1.14 | 1.24 | 1.19 | 1.0952 | 1.1002 | 980 | 1030 | 1005 | [8 empty] | 3 - 3.9 | <= 812
2 | 1.1015 | 1.1064 | 10 | 10 | 1.1126 | 1.1182 | 1 | 1.11 | 1.18 | 1.145 | 1.1024 | 1.1084 | 1020 | 980 | 1000
3 | 1.1183 | 1.12 | 10 | 10 | 1.127 | 1.131 | 1 | 0.87 | 1.1 | 0.985 | 1.1185 | 1.122 | 850 | 900 | 875 | [5 empty] | Summary Table
4 | 1.1297 | 1.1231 | 10 | 10 | 1.1364 | 1.1305 | 1 | 0.67 | 0.74 | 0.705 | 1.1303 | 1.1242 | 610 | 630 | 620 | [8 empty] | batch testing
5 | 1.1131 | 1.1171 | 10 | 10 | 1.1213 | 1.1251 | 1 | 0.82 | 0.8 | 0.81 | 1.1134 | 1.1179 | 790 | 720 | 755 | [6 empty] | unit | Plant | OPD | EPD
6 | 1.1061 | 1.1164 | 10 | 10 | 1.1103 | 1.1207 | 1 | 0.42 | 0.43 | 0.425 | 1.1065 | 1.1169 | 380 | 380 | 380
Plant Filterate | 1.102 | 1.1056 | 10 | 10 | 1.1079 | 1.1134 | 1 | 0.59 | 0.78 | 0.685 | 1.1022 | 1.1071 | 570 | 630 | 600 | [5 empty] | BFP TS | %TS | 3.5085
. | [20 empty] | Polymer ratio setting | vol/vol | 0.165 | 0.165 | 0.165
[21 empty] | Polymer dose | lb/tonTS | 21.7109 | 26.6031 | 23.8997
TS - VS | [20 empty] | Cake TS | %TS | 28.6677 | 26.0874 | 29.7472
Sample ID/# | Foil Tray (g) #1 | Foil Tray (g) #2 | Tray +Sample (g) #1 | Tray + Sample (g) #2 | After 103 °C #1 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 | After 550 °C #2 | VS-1 (%) | VS-2 (%) | VS (%) | [6 empty] | Filtrate TSS | mg TSS/L | 600 | 810 | 705
1 | 0.9859 | 0.9891 | 5.07 | 5.1332 | 2.1986 | 2.2118 | 29.6932 | 29.5046 | 29.5989 | 1.4211 | 1.428 | 15.3353 | 15.2692 | 15.3023
2 | 0.9919 | 0.9909 | 5.1155 | 5.1928 | 2.174 | 2.1693 | 28.6667 | 28.0445 | 28.3556 | 1.4224 | 1.4178 | 14.6926 | 14.472 | 14.5823
3 | 1.0131 | 0.9908 | 5.058 | 5.504 | 2.152 | 2.3096 | 28.1564 | 29.221 | 28.6887 | 1.431 | 1.4774 | 14.2546 | 15.1199 | 14.6873
4 | 0.9809 | 0.9809 | 5.1914 | 5.1421 | 2.2377 | 2.2145 | 29.8492 | 29.6453 | 29.7472 | 1.4405 | 1.4358 | 15.3562 | 15.1436 | 15.2499
5 | 0.9794 | 0.9999 | 5.2653 | 5.1175 | 2.1164 | 2.0559 | 26.5289 | 25.646 | 26.0874 | 1.3894 | 1.3804 | 13.8074 | 13.1998 | 13.5036
6 | 0.9806 | 0.9845 | 5.1728 | 5.0518 | 2.2263 | 2.1789 | 29.7147 | 29.3659 | 29.5403 | 1.4311 | 1.4147 | 15.3727 | 15.1273 | 15.25
Plant Cake | 0.9868 | 0.9974 | 5.2389 | 5.0126 | 2.2032 | 2.1509 | 28.607 | 28.7283 | 28.6677 | 1.4345 | 1.425 | 14.6729 | 14.4815 | 14.5772
Sludge | 1.0107 | 1.0055 | 5.2604 | 5.0626 | 1.1589 | 1.1487 | 3.4873 | 3.5296 | 3.5085 | 1.0619 | 1.0559 | 1.844 | 1.8331 | 1.8385
Actual Polymer Added (lb/ton) | CST Supernatant (second) | CST Sludge (second) | Lab Cake TS (%) | Lab Filtrate TSS (mg TSS/L) | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Note: Based on Supernatant | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Note: Based on Sludge | Ave | Diff | Tolerance (%) | 1 or 2 | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Target Fiftrate TSS (mg TSS/L) | EOPD checked with Filtrate TSS (lb/ton) | Check filtrate condition | 1 or 2 | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Manual check (yes/No) | Note | Grab Plant PD (lb/Ton) | Plant Cake TS (%) | Plant Filtrate (mg TSS/L) | Lab DW Feed TS (%)
17.0131 | 47.9667 | 121.6 | 29.5989 | 1190 | 47.9667 | 0 | 20 | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 121.6 | 0 | 20 | 2 | 26.6031 | 26.0874 | 810 | 26.6031 | 26.0874 | 810 |  | 29.5989 | 0 | 20 | 2 | 18.7366 | #N/A | #N/A | 812 | #N/A |  | #N/A | 23.8997 | 29.7472 | 705 | yes |  | 21.7109 | 28.6677 | 600 | 3.5085
18.7366 | 45.05 | 114.4333 | 28.3556 | 1145 | 46.5083 | 6.0806 | 20 | 2 | [8 empty] | 118.0167 | 5.8936 | 20 | 2 | [7 empty] | 28.9772 | 4.2006 | 20 | 2
21.415 | 43.9333 | 55.6 | 28.6887 | 985 | 44.4917 | 5.5366 | 20 | 2 | [8 empty] | 85.0167 | 52.888 | 20 | 2 | [7 empty] | 28.5221 | 0.99575 | 20 | 2
23.8997 | 39.8 | 49.2 | 29.7472 | 705 | 41.8667 | 10.545 | 20 | 2 | [8 empty] | 52.4 | 42.129 | 20 | 2 | [7 empty] | 29.218 | -4.2953 | 20 | 2
26.6031 | 34.05 | 40.55 | 26.0874 | 810 | 36.925 | 18.6704 | 20 | 2 | [8 empty] | 44.875 | 22.6145 | 20 | 1 | [7 empty] | 27.9173 | 10.7144 | 20 | 2
29.1397 | 24.0333 | 39.8333 | 29.5403 | 425 | 29.0417 | 34.9131 | 20 | 2 | [8 empty] | 40.1917 | 11.2349 | 20 | 2 | [7 empty] | 27.8139 | -5.8135 | 20 | 2
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Red highlighted value comes from plant data conversion table
Note on D32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sub-sample weight
Note on D41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Take min 3 readings
Note on I41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Take min 3 reading Extra slots are given for outliers
Note on D50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample volume will remain same unless need to change due to thickness of filtrate
Note on D61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample + Tray weight >= 5g
OPD
EPD

## 05_21_2020
General guidelines:
fill in blue cells
other cells are calculated
Bench Scale Dewatering test Summary - 05/21/2024
Summary Table
Belt No. | A3 | Poly Loading (lb) | 415.0428 |  |  |  |  | batch testing
Poly Ratio | 0.177 | Floc Poly Flow (gpm) | 13.8237 |  |  | unit | Plant | OPD | EPD
Sludge Flow (gpm) | 78.1 | Poly Floc Flow (mgd) | 0.019906 |  | BFP TS | %TS | 3.7999
Polymer sol. | 0.25 | Sludge Flow(mgd) | 0.11246 |  | Polymer ratio setting | - | 0.177 | 0.177 | 0.177
SBT3 TS % LAB_TSPCT_J04 | 6.1 | Calculated BFP TS (%) | 3.4892 |  | Polymer dose | lb/tonTS | 25.9531 | 32.7416 | 23.6205
BFP TS % | 3.41 | BFP Sludge Loading (dtpd) | 16.3637 |  | Cake TS | %TS | 28.9719 | 29.7349 | 32.8894
DIG SLDG FLOW FROM SBT (gpm) | 282 | Plant Polydose (Ib/ton) - method 1 | 25.3636 |  | Filtrate TSS | mg TSS/L | 580 | 335 | 835
DIL WTR FLOW TO BFP (gpm) | 211 | Plant Polydose (Ib/ton) - method 2 | 25.9531
Assumptions and Constants:
1 g = | 0.0022046 | lb
1 g = | 1.1023e-06 | ton
Cup Diameter | 3.95 | inches
Cup Area: | 0.0079059 | m2
Aiming for 0.80 kg of DS per m2 of cup area
Cup Loading | 6.3247 | grams of DS
Assuming | 3.5 | TS in sludge
Assuming 100% Capture in free drainage
Polymer Solution | 0.25
Plains Target DS | 4 to 7 | kg DS/m
Calculation
Sample # | Polymer Dose (lb polymer/ ton sludge) | Actual Belt Filter Press before PD TS (%) | Sludge Weight (g) | Calculation Polymer Added(g) | Polymer Before (g) | Poymer after (g) | Actual Polymer Added (g) | Actual Polymer Added (lb/ton) | Sieve Weight (g) | Bucket Weight (g) | Sieve + Wet Solids Weight (g) | Bucket + Filtrate (g) | Capture Efficiency (%) | Filtered Solids (g) | Filtrate (g) | Estimated TS% of Wet Solids on frabic | Target WS in Cup (g)
1 | 19.5 | 3.41 | 500.54 | 66.5668 | 70.28 | 1.98 | 68.3 | 20.0077 | 206.78 | 409.17 | 347.93 | 779.21 | 100 | 141.15 | 370.04 | 10.8669 | 58.2019
2 | 23 | 3.41 | 503.13 | 78.9209 | 83.55 | 2.5 | 81.05 | 23.6205 | 205.82 | 408.9 | 347.35 | 782.64 | 100 | 141.53 | 373.74 | 10.6924 | 59.1517
3 | 26 | 3.41 | 509.78 | 90.3942 | 97.51 | 2.74 | 94.77 | 27.2586 | 159.42 | 408.25 | 295.74 | 827.41 | 100 | 136.32 | 419.16 | 11.7169 | 53.9794
4 | 28.5 | 3.41 | 506.6 | 98.4678 | 103.21 | 1.7 | 101.51 | 29.3805 | 401.84 | 359.01 | 550.82 | 771.74 | 100 | 148.98 | 412.73 | 10.7108 | 59.05
5 | 31.5 | 3.41 | 502.02 | 107.8489 | 116.12 | 4.02 | 112.1 | 32.7416 | 509.78 | 399.07 | 675.12 | 810 | 100 | 165.34 | 410.93 | 9.7156 | 65.0985
| 35 | 3.41 | 500.45 | 119.4574 | 120.24 | 1.12 | 119.12 | 34.9012 | 401.84 | 359.01 | 558.54 | 808.95 | 101 | 156.7 | 449.94 | 10.6632 | 59.3137
CST Table | [16 empty] | 0
Sample # | CST Sludge (Avrg) | CST Supernatant (Avrg) | CST Sludge |  |  |  |  | CST Supernatant
1 | 73.2333 | 39.5333 | 73.6 | 70.2 | 75.9 |  |  | 39.9 | 39 | 39.7
2 | 48 | 37.4 | 48.1 | 48.7 | 47.2 | 36.6 |  | 42.2 | 38.2 | 36.6
3 | 46.8333 | 31.05 | 50.2 | 44.7 | 45.6 | 37.4 |  | 31.3 | 31.4 | 30.7 | [9 empty] | Summary - 05 - 03 - 2024 | [7 empty] | Trend over time
4 | 37.7333 | 28.4 | 38.4 | 38.6 | 36.2 | 32.4 |  | 27.1 | 28.8 | 29.3
5 | 28.2333 | 15.8 | 28.3 | 27.3 | 29.1 | 19.8 |  | 22.1 | 12.8 | 12.5
6 | 28.6 | 12 | 27.3 | 29.7 | 28.8 | 19.6 |  | 11.8 | 11.7 | 12.5
Target table
TSS - VSS | [23 empty] | BFP TS | Filtrate TS
Sample ID/# | Foil Tray+Filter Weight (g ) #1 | Foil Tray+Filter Weight (g ) #2 | Sample Volume (ml) #1 | Sample Volume (ml) #2 | After 103 °C #1 | After 103 °C #2 | Dilution Factor | TSS-1 | TSS-2 | TSS (g TSS/L) | After 550 °C #1 | After 550 °C #2 | VSS-1 (%) | VSS-2 (%) | VSS (%) | [7 empty] | Unit | % | mg TSS/L
1 | 1.1038 | 1.1116 | 10 | 10 | 1.1137 | 1.1225 | 1 | 0.99 | 1.09 | 1.04 | 1.1085 | 1.1138 | 520 | 870 | 695 | [8 empty] | 3 - 3.9 | <= 812
2 | 1.1345 | 1.1268 | 10 | 10 | 1.1422 | 1.1358 | 1 | 0.77 | 0.9 | 0.835 | 1.136 | 1.1286 | 620 | 720 | 670
3 | 1.114 | 1.1224 | 10 | 10 | 1.1231 | 1.1285 | 1 | 0.91 | 0.61 | 0.76 | 1.116 | 1.1233 | 710 | 520 | 615 | [5 empty] | Summary Table
4 | 1.1174 | 1.115 | 10 | 10 | 1.1213 | 1.119 | 1 | 0.39 | 0.4 | 0.395 | 1.1179 | 1.1148 | 340 | 420 | 380 | [8 empty] | batch testing
5 | 1.1218 | 1.1165 | 10 | 10 | 1.1253 | 1.1197 | 1 | 0.35 | 0.32 | 0.335 | 1.1217 | 1.1168 | 360 | 290 | 325 | [6 empty] | unit | Plant | OPD | EPD
6 | 1.1181 | 1.1172 | 10 | 10 | 1.122 | 1.121 | 1 | 0.39 | 0.38 | 0.385 | 1.1181 | 1.1178 | 390 | 320 | 355
Plant Filterate | 1.1103 | 1.1087 | 10 | 10 | 1.1169 | 1.1154 | 1 | 0.66 | 0.67 | 0.665 | 1.111 | 1.1097 | 590 | 570 | 580 | [5 empty] | BFP TS | %TS | 3.7999
. | [20 empty] | Polymer ratio setting | vol/vol | 0.177 | 0.177 | 0.177
[21 empty] | Polymer dose | lb/tonTS | 25.9531 | 32.7416 | 23.6205
TS - VS | [20 empty] | Cake TS | %TS | 28.9719 | 29.7349 | 32.8894
Sample ID/# | Foil Tray (g) #1 | Foil Tray (g) #2 | Tray +Sample (g) #1 | Tray + Sample (g) #2 | After 103 °C #1 | After 103 °C #2 | TS-1 (%) | TS-2 (%) | TS (%) | After 550 °C #1 | After 550 °C #2 | VS-1 (%) | VS-2 (%) | VS (%) | [6 empty] | Filtrate TSS | mg TSS/L | 580 | 335 | 835
1 | 1.0061 | 1.0124 | 5.2952 | 5.3098 | 2.2718 | 2.3265 | 29.5097 | 30.579 | 30.0443 | 1.4507 | 1.4722 | 15.5065 | 16.0891 | 15.7978
2 | 1.0114 | 1.0056 | 5.2581 | 5.1396 | 2.417 | 2.3566 | 33.0986 | 32.6802 | 32.8894 | 1.5103 | 1.4837 | 17.2439 | 16.9838 | 17.1138
3 | 0.9888 | 1.0072 | 5.2674 | 5.4188 | 2.3317 | 2.306 | 31.3864 | 29.4406 | 30.4135 | 1.4618 | 1.4598 | 16.5148 | 15.616 | 16.0654
4 | 1.004 | 0.9975 | 5.0896 | 5.3244 | 2.2401 | 2.3258 | 30.255 | 30.6987 | 30.4768 | 1.4349 | 1.4602 | 15.8205 | 16.2572 | 16.0389
5 | 1.0014 | 0.9955 | 5.0068 | 5.5062 | 2.2412 | 2.2818 | 30.9532 | 28.5166 | 29.7349 | 1.4295 | 1.44 | 16.212 | 15.2882 | 15.7501
6 | 1.0062 | 0.996 | 5.0685 | 5.1949 | 2.2471 | 2.226 | 30.5467 | 29.2934 | 29.9201 | 1.4378 | 1.4217 | 15.9672 | 15.4825 | 15.7249
Plant Cake | 1.0041 | 0.9928 | 5.3082 | 5.1555 | 2.297 | 2.1544 | 30.0388 | 27.905 | 28.9719 | 1.443 | 1.3901 | 16.0883 | 14.8249 | 15.4566
Sludge | 1.0059 | 0.9798 | 5.0524 | 5.1096 | 1.1594 | 1.137 | 3.7934 | 3.8065 | 3.7999 | 1.0616 | 1.0413 | 1.9357 | 1.8729 | 1.9043
Actual Polymer Added (lb/ton) | CST Supernatant (second) | CST Sludge (second) | Lab Cake TS (%) | Lab Filtrate TSS (mg TSS/L) | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Manual check | Note: Based on Supernatant | Ave | Diff | Tolerance (%) | 1 or 2 | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | OPD (lb/ton) | OPD Cake TS (%) | OPD Filtrate TSS (mg TSS/L) | Note: Based on Sludge | Ave | Diff | Tolerance (%) | 1 or 2 | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Target Fiftrate TSS (mg TSS/L) | EOPD checked with Filtrate TSS (lb/ton) | Check filtrate condition | 1 or 2 | EOPD Checked with Cake TS (lb/ton) | EOPD Cake TS (%) | EOPD Filtrate TSS (mg TSS/L) | Manual check (yes/No) | Note | Grab Plant PD (lb/Ton) | Plant Cake TS (%) | Plant Filtrate (mg TSS/L) | Lab DW Feed TS (%)
20.0077 | 39.5333 | 73.2333 | 30.0443 | 1040 | 39.5333 | 0 | 20 | 2 | 34.9012 | 29.9201 | 385 | 34.9012 | 29.9201 | 385 |  |  | 73.2333 | 0 | 20 | 2 | 32.7416 | 29.7349 | 335 | 32.7416 | 29.7349 | 335 |  | 30.0443 | 0 | 20 | 2 | 23.6205 | #N/A | #N/A | 812 | #N/A |  | #N/A | 23.6205 | 32.8894 | 835 | yes |  | 25.9531 | 28.9719 | 580 | 3.7999
23.6205 | 37.4 | 48 | 32.8894 | 835 | 38.4667 | 5.3963 | 20 | 2 | [8 empty] | 60.6167 | 34.4561 | 20 | 2 | [7 empty] | 31.4669 | -9.4697 | 20 | 2
27.2586 | 31.05 | 46.8333 | 30.4135 | 760 | 34.225 | 19.2808 | 20 | 2 | [8 empty] | 47.4167 | 22.7385 | 20 | 2 | [7 empty] | 31.6515 | 3.3476 | 20 | 2
29.3805 | 28.4 | 37.7333 | 30.4768 | 395 | 29.725 | 17.0197 | 20 | 2 | [8 empty] | 42.2833 | 20.4218 | 20 | 2 | [7 empty] | 30.4452 | 3.7111 | 20 | 2
32.7416 | 15.8 | 28.2333 | 29.7349 | 335 | 22.1 | 46.8461 | 20 | 2 | [8 empty] | 32.9833 | 33.2282 | 20 | 1 | [7 empty] | 30.1059 | 2.3329 | 20 | 2
34.9012 | 12 | 28.6 | 29.9201 | 385 | 13.9 | 45.7014 | 20 | 1 | [8 empty] | 28.4167 | 13.2895 | 20 | 2 | [7 empty] | 29.8275 | 0.61724 | 20 | 2
Note on B32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Red highlighted value comes from plant data conversion table
Note on D32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sub-sample weight
Note on D41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Take min 3 readings
Note on I41: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Take min 3 reading Extra slots are given for outliers
Note on D50: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample volume will remain same unless need to change due to thickness of filtrate
Note on D61: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Sample + Tray weight >= 5g
OPD
EPD